# GxP IT AUDIT & LIFECYCLE INTELLIGENCE REPORT

Novo Life MES PAS-X (SYS-MES-001) | Top 25 Audit Checklist Assessment

⚠️ This is a hackathon/training simulation and does not constitute a regulatory audit, validation decision, or production release authorization.

# 1. Executive Summary

System Evaluated: Novo Life MES PAS-X (SYS-MES-001)
Overall Audit Readiness Score: 64.6%
Total Questions Evaluated: 25
Passed: 15 | Partial: 4 | Failed: 6
Critical Findings: 4 | High: 4
System Release Recommendation: HOLD / DEFER - DO NOT RELEASE TO PRODUCTION

# 2. System Assessed & 3. Assessment Date

| System | Novo Life MES PAS-X (Werum PAS-X GAMP Category 4) |
| --- | --- |
| Assessment Date | 2026-09-03 19:31:31 UTC |
| Governing SOP | NN Master IT System Lifecycle SOP (HACK-IT-SOP-001) |
| Audit Checklist | Top 25 Checklists GxP IT Audit Questions 2026 |

# 4. Documents Reviewed

- Primary Evidence: NL-MES-URS-001, NL-MES-MLGP-001, NL-MES-ITRA-001, NL-MES-ITRRA-001, NL-MES-IREP-001, NL-MES-ITPSE-001, NL-MES-SLA-001
- Governance Standard: NN Master IT System Lifecycle SOP (HACK-IT-SOP-001)
- Reference Benchmark: GxP LIMS Lifecycle Documentation Package (LIMS-LCP-001)
- Audit Instrument: Top 25 Checklists GxP IT Audit Questions 2026 (Top_25_Checklists_GxP_IT_Audit_Questions_2026.xlsx)

# 5 & 6. Question-by-Question Results

| # | Q_ID | Topic / Question | Result | Severity |
| --- | --- | --- | --- | --- |
| 1 | DA-01-001 | Intended Use & System Boundary: Walk through the proposed intended use, patient/product deci... | PASS | LOW |
| 2 | DA-01-003 | Data Lifecycle & ALCOA+ Protection: Describe the data lifecycle and show where the concept expli... | PASS | LOW |
| 3 | DA-02-001 | Completeness of GxP User Requirements: Demonstrate that the URS captures all GxP, operational, data... | PARTIAL | HIGH |
| 4 | DA-03-001 | Initial System Risk Assessment & Hazard Identification: Show how system risk assessment differentiated patient-safet... | PASS | LOW |
| 5 | DA-03-005 | Authorized Residual Risk Acceptance: Demonstrate that all high-risk items have verified mitigatio... | FAIL | CRITICAL |
| 6 | DA-04-001 | Supplier Audit & Quality Agreement: Confirm that the software supplier (Werum IT Solutions) unde... | PASS | LOW |
| 7 | DA-07-001 | Technical Environment & Installation Verification: Verify that all production hardware, operating systems, data... | PASS | LOW |
| 8 | DA-08-001 | Functional & Security Control Verification: Show that all automated functions, calculations, security pe... | PASS | LOW |
| 9 | DA-09-001 | Intended-Use Qualification & Shopfloor Verification (OV / PfV / UAT): Demonstrate that the system was tested under realistic opera... | FAIL | CRITICAL |
| 10 | DA-10-001 | Operational Handover, Service Level Agreements & Support Readiness: Show that operational support models, SLA tiers, incident re... | FAIL | HIGH |
| 11 | DA-10-005 | End-User Training & Qualification Records: Demonstrate that all personnel with access to the system are... | FAIL | HIGH |
| 12 | DA-10-007 | Validation Summary Report (VSR) & Formal Release Gate G5: Confirm that a Validation Summary Report synthesizing all qu... | FAIL | CRITICAL |
| 13 | DA-11-001 | Periodic System Evaluation & Validated State Conclusion: Reconstruct the most recent periodic evaluation from source ... | PARTIAL | HIGH |
| 14 | DA-11-005 | Backup, Disaster Recovery & Business Continuity Testing: Walk through the most recent backup and restore test and ver... | PASS | LOW |
| 15 | DA-12-001 | Production Change Population & Reconciliation: Build the complete population of production changes and reco... | PARTIAL | MEDIUM |
| 16 | DA-12-005 | Emergency Change & Post-Implementation Review: Examine the population of emergency and hotfix changes to en... | PASS | LOW |
| 17 | DA-13-001 | Event Population & GxP Impact Assessment: Reconcile system monitoring alerts, service desk tickets, an... | PARTIAL | MEDIUM |
| 18 | DA-13-005 | CAPA Linkage & Root Cause Analysis: Trace recurrent incidents or critical defects to root-cause ... | PASS | LOW |
| 19 | DA-02-005 | Audit Trail & Electronic Signature Compliance (Part 11 / Annex 11): Show that the audit trail is secure, computer-generated, tim... | PASS | LOW |
| 20 | DA-05-001 | Functional Specification & Architecture Modularity: Demonstrate that functional specifications trace directly to... | PASS | LOW |
| 21 | DA-06-001 | Configuration Management & Repository Control: Verify that all configuration files, master recipe parameter... | PASS | LOW |
| 22 | DA-14-001 | Data Retention, Archival & Retrieval Readability: Show that electronic batch records and audit trails can be r... | PASS | LOW |
| 23 | DA-02-010 | Role-Based Access Control & Segregation of Duties: Verify that user authorization enforces least privilege, pre... | PASS | LOW |
| 24 | DA-08-010 | Automated Interface Verification (ERP / SCADA / Serialization): Demonstrate that data exchanges between MES, SAP ERP, and sh... | PASS | LOW |
| 25 | DA-10-025 | Release Gate Checklist Reconciliation & Regulatory Readiness: Reconcile all lifecycle gate deliverables (G1 through G6) to... | FAIL | CRITICAL |

# 7 & 8. Critical Findings & Evidence

• [HIGH] Audit Finding [DA-02-001]: Completeness of GxP User Requirements
  Gap: Evidence indicates Quality Unit approval signature remains pending on the baseline URS document.
  Recommendation: Route URS-001 through formal electronic Quality Unit sign-off.
  Citations: [NL-MES-URS-001 | p.1 | Executive Summary], [NL-MES-ITRRA-001 | p.1 | Section 1], [Top_25_Checklists_GxP_IT_Audit_Questions_2026.xlsx | 02 URS | Row 5]

• [CRITICAL] Audit Finding [DA-03-005]: Authorized Residual Risk Acceptance
  Gap: Residual risk evaluation is unrated and unapproved for 49 critical working requirements.
  Recommendation: Conduct an authorized residual risk review session with the Quality Unit to sign off on working high risks.
  Citations: [NL-MES-ITRRA-001 | p.3 | Section 3 Residual Risk Evaluation], [HACK-IT-SOP-001 | p.12 | Section 6.2 Risk Scales and Acceptance], [Top_25_Checklists_GxP_IT_Audit_Questions_2026.xlsx | 03 Risk GAMP | Row 9]

• [CRITICAL] Audit Finding [DA-09-001]: Intended-Use Qualification & Shopfloor Verification (OV / PfV / UAT)
  Gap: Operational verification on commercial packaging lines was deferred and remains unperformed, directly invalidating release readiness.
  Recommendation: Execute intended-use qualification test scripts on the packaging line before seeking Gate G5 release authorization.
  Citations: [NL-MES-IREP-001 | p.2 | Section 3.2 Intended-Use Verification Gap], [NL-MES-IREP-001 | p.3 | Section 4.1 Gate G5 Status], [HACK-IT-SOP-001 | p.17 | Section 7.2 Verification Execution], [Top_25_Checklists_GxP_IT_Audit_Questions_2026.xlsx | 09 PQ UAT | Row 5]

• [HIGH] Audit Finding [DA-10-001]: Operational Handover, Service Level Agreements & Support Readiness
  Gap: Support handover is not executed; Release Gate G6 is marked NOT MET.
  Recommendation: Activate IT service management SLA tiers and finalize operational support agreements.
  Citations: [NL-MES-SLA-001 | p.1 | Section 1 System Operational Status], [NL-MES-IREP-001 | p.4 | Section 4.2 Gate G6 Status], [Top_25_Checklists_GxP_IT_Audit_Questions_2026.xlsx | 10 GoLive Handover | Row 5]

• [HIGH] Audit Finding [DA-10-005]: End-User Training & Qualification Records
  Gap: Zero shopfloor packaging operators trained; system cannot be operated in compliance with GxP.
  Recommendation: Deliver classroom and simulator training to 250 operators prior to production line go-live.
  Citations: [NL-MES-SLA-001 | p.2 | Appendix A Training Matrix], [NL-MES-IREP-001 | p.4 | Section 4.2], [Top_25_Checklists_GxP_IT_Audit_Questions_2026.xlsx | 10 GoLive Handover | Row 9]

• [CRITICAL] Audit Finding [DA-10-007]: Validation Summary Report (VSR) & Formal Release Gate G5
  Gap: Validation Summary Report is deferred; system cannot be authorized for commercial batch execution.
  Recommendation: Compile and route the VSR following operational verification completion.
  Citations: [NL-MES-IREP-001 | p.4 | Section 4.3 Validation Summary Report], [NL-MES-ITPSE-001 | p.1 | Overall Conclusion], [HACK-IT-SOP-001 | p.19 | Section 8.1 Release Decision & Gate G5], [Top_25_Checklists_GxP_IT_Audit_Questions_2026.xlsx | 10 GoLive Handover | Row 11]

• [HIGH] Audit Finding [DA-11-001]: Periodic System Evaluation & Validated State Conclusion
  Gap: Evaluation confirmed system is NOT yet in a production validated state.
  Recommendation: Resolve pre-operational blockers before initiating operational periodic review cycles.
  Citations: [NL-MES-ITPSE-001 | p.1 | Periodic System Evaluation], [Top_25_Checklists_GxP_IT_Audit_Questions_2026.xlsx | 11 Ops Periodic Review | Row 5]

• [MEDIUM] Audit Finding [DA-12-001]: Production Change Population & Reconciliation
  Gap: Production configuration baseline is unreleased.
  Recommendation: Freeze and checksum the v1.0 release branch upon VSR completion.
  Citations: [NL-MES-MLGP-001 | p.2 | Change Management Section], [Top_25_Checklists_GxP_IT_Audit_Questions_2026.xlsx | 12 Change Config Mgmt | Row 5]

• [MEDIUM] Audit Finding [DA-13-001]: Event Population & GxP Impact Assessment
  Gap: Operational monitoring reconciliation cannot be completed while system is in pre-operational hold.
  Recommendation: Connect system syslog directly to enterprise SIEM prior to go-live.
  Citations: [NL-MES-SLA-001 | p.2 | Incident Triage Procedures], [Top_25_Checklists_GxP_IT_Audit_Questions_2026.xlsx | 13 Incident Problem Dev | Row 5]

• [CRITICAL] Audit Finding [DA-10-025]: Release Gate Checklist Reconciliation & Regulatory Readiness
  Gap: Gates G5 and G6 remain open. Release is not authorized.
  Recommendation: Complete intended-use verification and obtain QA residual risk sign-off to satisfy Gate G5 prerequisites.
  Citations: [NL-MES-IREP-001 | p.3 | Gate G1-G6 Summary], [NL-MES-ITPSE-001 | p.1 | Overall Recommendation], [HACK-IT-SOP-001 | p.34 | Macro Lifecycle Stage Deliverables], [Top_25_Checklists_GxP_IT_Audit_Questions_2026.xlsx | 10 GoLive Handover | Row 29]

# 9 & 10. Cross-Document Comparison (Master SOP vs MES)

• Intended-Use Verification & Performance Qualification (POTENTIAL_LIFECYCLE_DEVIATION):
  - SOP Expectation: Prior to commercial release authorization (Gate G5), the system must undergo documented intended-use qualification in the production/simulated shopfloor environment by qualified business users.
  - Observed State: NL-MES-IREP-001 Section 3.2 records operational verification (OV / PfV / UAT) as NOT PERFORMED.
  - Recommended Action: Execute intended-use qualification test scripts on commercial packaging lines prior to reconvening the Gate G5 release panel.

• Residual Risk Quality Unit Acceptance (POTENTIAL_LIFECYCLE_DEVIATION):
  - SOP Expectation: Risk-based lifecycle assurance requires all critical requirements to have verified mitigations and explicit, signed Quality Unit residual risk authorization.
  - Observed State: NL-MES-ITRRA-001 indicates residual risk is NOT RATED across 49 working high requirements.
  - Recommended Action: Conduct formal residual risk acceptance evaluation with the Quality Unit to review the 49 working high requirements.

• Operational SLA Handover & Operator Training (POTENTIAL_LIFECYCLE_DEVIATION):
  - SOP Expectation: Operational handover (Gate G6) mandates signed Service Level Agreements, activated incident management tiers, and complete training records for all operators.
  - Observed State: NL-MES-SLA-001 is in PRE-OPERATIONAL / NOT ACTIVATED status; 0 of 250 packaging operators are trained.
  - Recommended Action: Qualify 250 operators on MES packaging SOPs and transition SLA from Pre-Operational to Active.

• Installation Qualification (IQ) & Technical Environment (ALIGNED):
  - SOP Expectation: Technical components, database schemas, and interface middleware must be verified against design specifications with zero open critical defects.
  - Observed State: NL-MES-IREP-001 Section 3.1 records technical integration, infrastructure qualification, and database installation as COMPLETE.
  - Recommended Action: Maintain automated checksum monitoring on infrastructure configuration.

• Audit Trail & Data Integrity Controls (Part 11 / Annex 11) (ALIGNED):
  - SOP Expectation: Computerized systems managing GxP records must provide automated, immutable, timestamped audit trails capturing user identity, changes, and reasons.
  - Observed State: NL-MES-URS-001 Section 2.1 & URS-028 establish append-only audit trail logging with cryptographic timestamps.
  - Recommended Action: Perform quarterly automated audit trail reviews upon system activation.

• Disaster Recovery & Backup Restoration Validation (ALIGNED):
  - SOP Expectation: Systems must have verified backup/recovery procedures ensuring validated state restoration within target RTO/RPO limits.
  - Observed State: NL-MES-IREP-001 Section 3.1 records cold-start DR and automated restore verification as COMPLETE.
  - Recommended Action: Schedule routine annual disaster recovery restoration drills.

# 11 & 12. Corrective Action Plan

1. Complete Intended-Use Verification (OV / PfV / UAT) on commercial packaging line [NL-MES-IREP-001 Section 3.2].
2. Complete Authorized Residual Risk Sign-off for 49 working high requirements with Quality Unit [NL-MES-ITRRA-001 Section 3].
3. Obtain Quality Unit VSR authorization to satisfy Gate G5 requirements [NL-MES-IREP-001 Section 4.3].
4. Deliver packaging operator training to 250 personnel and activate operational SLA [NL-MES-SLA-001 Section 1].

# 13 & 14. Limitations & Regulatory Disclaimer

This is a hackathon/training simulation and does not constitute a regulatory audit, validation decision, or production release authorization.