# GxP IT System Risk Assessment

System A: Validated LIMS | Document Ref: RA-SYS-A-001 | Version: 1.0

Author: IT Quality Assurance & Validation Team | Status: Approved | Date: 2026-06-20

# 1. Executive Summary

This GxP Risk Assessment evaluates System A under GAMP 5 and ICH Q9 Quality Risk Management principles. Because System A directly manages product release data and batch disposition analytical records, system failures or unauthorized modifications pose direct patient safety and regulatory compliance risks.

# 2. Risk Evaluation Matrix

| Risk ID | Hazard Description | Severity | Likelihood | Mitigation Control |
| --- | --- | --- | --- | --- |
| RA-01 | Unapproved URS leading to untested functionality | High | Medium | Mandate QA Approval prior to operational qualification. |
| RA-02 | Audit trail bypass during batch record calculations | Critical | Low | Hardware write-once logging & SHA-256 database triggers. |
| RA-03 | Stale SOP documentation causing operator deviation | Medium | Medium | Continuous document lifecycle monitoring & annual reviews. |

# 3. Control Mappings & ALCOA+ Standards

Control C-01: All requirements in URS-SYS-A-001 must be linked to verified IQ/OQ/PQ test scripts. Control C-02: User credentials and segregation of duties must be verified biannually.